## Sheet1
Byte | Bit
| 15 | 14 | 13 | 12 | 11 | 10 | 9 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1 | 0
0 | Fixed 0x7FFF
2 | Fixed 0x8000
4 | Fixed 0x7FFF
6 | Fixed 0x8000
8 | Fixed 0x7FFF
10 | Fixed 0x8000
12 | Fixed 0xAAAA
14 | Frame Length in Bytes (32-bit Unsigned Integer)
16
18 | Frame Number (32-bit Unsigned Integer)
20
22 | Reserved | [6 empty] | BE | Reserved |  |  | Probe Number
24 | Number of NMR Samples (16 bit Unsigned Integer)
26 | Number of BC Samples per Channel (16 bit UInt)
28 | Barcode to NMR-Start Samples Offset (16 bit UInt)
30 | Voltage Monitor 1 (16 bit Unsigned Integer)
32 | Voltage Monitor 2 (16 bit Unsigned Integer)
34 | Temperature Monitor (On Board) (16 bit UInt)
36 | Ext. Temperature Monitor 1 (16 bit Unsigned Int)
38 | Ext. Temperature Monitor 2 (16 bit Unsigned Int)
40 | Ext. Temperature Monitor 3 (16 bit Unsigned Int)
42 | Pressure Sensor Cal Data 0 (16 bit Unsigned Integer)
44 | Pressure Sensor Cal Data 1 (16 bit Unsigned Integer)
46 | Pressure Sensor Cal Data 2 (16 bit Unsigned Integer)
48 | Pressure Sensor Cal Data 3 (16 bit Unsigned Integer)
50 | Pressure Sensor Cal Data 4 (16 bit Unsigned Integer)
52 | Pressure Sensor Cal Data 5 (16 bit Unsigned Integer)
54 | Pressure Sensor Cal Data 6 (16 bit Unsigned Integer)
56 | Pressure Sensor Pressure Value (32-bit Unsigned Integer)
58
60 | Pressure Sensor Temperature Value (32-bit Unsigned Integer)
62
64 | Local Timestamp corresponding to first sample in reported NMR waveform. (64 bit Unsigned Integer) 50ns/LSB
66
68
70
72 | Local Timestamp corresponding to first sample in reported bar-code waveform. (64 bit Unsigned Integer) 50ns/LSB
74
76
78
80 | Reserved
82 | Reserved
84 | Reserved
86 | Barcode Config Register Readback (16-Bit Uint)
88 | Barcode RefDAC 1 Register Readback (16-Bit Uint)
90 | Barcode RefDAC 2 Register Readback (16-Bit Uint)
92 | Barcode SeqFIFO Register Readback (16-Bit Uint)
94 | Barcode RefCM Register Readback (16-Bit Uint)
96 | Trolley Configuration Register 0 (16-Bit UInt)
98 | Trolley Configuration Register 1 (16-Bit UInt)
100 | Trolley Configuration Register 2 (16-Bit UInt)
102 | Trolley Configuration Register 3 (16-Bit UInt)
104 | Trolley Configuration Register 4 (16-Bit UInt)
106 | Trolley Configuration Register 5 (16-Bit UInt)
108 | Trolley Configuration Register 6 (16-Bit UInt)
110 | Trolley Configuration Register 7 (16-Bit UInt)
112 | Trolley Configuration Register 8 (16-Bit UInt)
114 | Trolley Configuration Register 9 (16-Bit UInt)
116 | Trolley Configuration Register 10 (16-Bit UInt)
118 | Trolley Configuration Register 11 (16-Bit UInt)
120 | Trolley Configuration Register 12 (16-Bit UInt)
122 | Trolley Configuration Register 13 (16-Bit UInt)
124 | Trolley Configuration Register 14 (16-Bit UInt)
126 | Trolley Configuration Register 15 (16-Bit UInt)
128 | NMR Sample 1 (16 Bit Unsigned Integer)
… | NMR Sample 2(16 Bit Unsigned Integer)
… | NMR Sample 3 (16 Bit Unsigned Integer)
… | …
… | …
… | NMR Sample N-2 (16 Bit Unsigned Integer)
… | NMR Sample N-1 (16 Bit Unsigned Integer)
126+(2xN) | NMR Sample N (16 Bit Unsigned Integer)
126+(2xN)+2 | Barcode Channel 1 Sample 1 (16-Bit UInt)
… | Barcode Channel 1 Sample 2 (16-Bit UInt)
… | …
… | Barcode Channel 1 Sample M-1 (16-Bit UInt)
126+(2xN)+(2xM) | Barcode Channel 1 Sample M (16-Bit UInt)
… | Barcode Channel 2 Sample 1 (16-Bit UInt)
… | Barcode Channel 2 Sample 2 (16-Bit UInt)
… | …
… | Barcode Channel 2 Sample M-1 (16-Bit UInt)
126+(2xN)+2x(2xM) | Barcode Channel 2 Sample M (16-Bit UInt)
… | Barcode Channel 3 Sample 1 (16-Bit UInt)
… | Barcode Channel 3 Sample 2 (16-Bit UInt)
… | …
… | Barcode Channel 3 Sample M-1 (16-Bit UInt)
126+(2xN)+3x(2xM) | Barcode Channel 3 Sample M (16-Bit UInt)
… | Barcode Channel 4 Sample 1 (16-Bit UInt)
… | Barcode Channel 4 Sample 2 (16-Bit UInt)
… | …
… | Barcode Channel 4 Sample M-1 (16-Bit UInt)
126+(2xN)+4x(2xM) | Barcode Channel 4 Sample M (16-Bit UInt)
… | Barcode Channel 5 Sample 1 (16-Bit UInt)
… | Barcode Channel 5 Sample 2 (16-Bit UInt)
… | …
… | Barcode Channel 5 Sample M-1 (16-Bit UInt)
126+(2xN)+5x(2xM) | Barcode Channel 5 Sample M (16-Bit UInt)
… | Barcode Channel 6 Sample 1 (16-Bit UInt)
… | Barcode Channel 6 Sample 2 (16-Bit UInt)
… | …
… | Barcode Channel 6 Sample M-1 (16-Bit UInt)
126+(2xN)+6x(2xM) | Barcode Channel 6 Sample M (16-Bit UInt)